Week 3. Class 6. Biocompatible materials in Engineering Design

| Biocompatibility n. /ˌbaɪoʊkəmˌpætəˈbɪləti/ | How well a material performs in the body without causing unacceptable harm. ​ | Biocompatibility is the first requirement for any implant material. |
| --- | --- | --- |
| Adverse reactions n. pl. /ˈædvɝːs riˈækʃənz/ | Harmful or unwanted responses of the body to a material or device. ​ | Adverse reactions may occur even when the device works mechanically. |
| Inflammation n. /ˌɪnfləˈmeɪʃən/ | A biological reaction (often swelling, redness, pain) that can occur when the immune system is activated. ​ | Inflammation around an implant can damage surrounding tissue. |
| Rejection n. /rɪˈdʒekʃən/ | A strong immune response that attacks an implanted material or device. ​ | In severe cases, rejection can lead to device failure. |
| Immunogenicity n. /ˌɪmjuːnəˈdʒenɪsɪti/ | The likelihood that a material will trigger an immune response. ​ | Engineers test immunogenicity to reduce long-term risk. |
| Bioactive coating n. /ˌbaɪoʊˈæktɪv ˈkoʊtɪŋ/ | A surface layer that is designed to actively improve biological response (e.g., support integration). ​ | A bioactive coating can help tissue integrate with an implant. |
| Leach v. /liːtʃ/ | To release substances from a material into surrounding fluids/tissues over time. ​ | Some polymers can leach chemicals into body fluids. |
| Leaching n. /ˈliːtʃɪŋ/ | The process of releasing substances from a material into surrounding fluids/tissues over time. ​ | Leaching can increase toxicity risk if harmful compounds are released. |
| Contamination n. /kənˌtæməˈneɪʃən/ | Unwanted substances introduced during manufacturing/processing that can create safety risks. ​ | Strict protocols reduce contamination during production. |
| Microbial colonization n. /maɪˈkroʊbiəl ˌkɑːlənəˈzeɪʃən/ | When microorganisms like bacteria attach to and grow on a material’s surface. ​ | Microbial colonization increases infection risk after surgery. |
| Antimicrobial coatings n. pl. /ˌæntaɪmaɪˈkroʊbiəl ˈkoʊtɪŋz/ | Surface layers that kill bacteria or prevent bacterial growth. ​ | Antimicrobial coatings are used to lower infection rates. |
| Hydrophilicity n. /ˌhaɪdroʊfɪˈlɪsɪti/ | Water-attracting surface behavior that often influences how cells and bacteria interact with a material. ​ | Hydrophilicity can affect protein adsorption on a surface. |
| Scaffold n. /ˈskæfəld/ | A temporary structure that supports cells and guides tissue growth in tissue engineering. ​ | A scaffold provides support while new tissue forms. |
| Porosity n. /pɔːˈrɑːsɪti/ | The presence of pores/voids in a material, which can support tissue ingrowth or drug release. ​ | Porosity must be tuned to balance strength and transport. |
| Autoclaving n. /ˈɔːtoʊˌkleɪvɪŋ/ | Steam sterilization at high temperature and pressure. ​ | Autoclaving is effective but may damage some polymers. |
| Ethylene oxide (EtO) n. /ˈeθəliːn ˈɑːksaɪd/; /ˌiː tiː ˈoʊ/ | Gas sterilization method often used for heat-sensitive materials. ​ | Ethylene oxide is used when heat would deform the device. |
| Total hip replacement n. /ˌtoʊtəl hɪp rɪˈpleɪsmənt/ | A common medical implant that replaces the hip joint to restore function and reduce pain. ​ | A total hip replacement can restore mobility after joint damage. |
| Regenerative biomaterials n. pl. /rɪˈdʒenərətɪv ˌbaɪoʊməˈtɪriəlz/ | Biomaterials engineered to help the body regenerate tissue, ideally back to its original form. ​ | Regenerative biomaterials support healing rather than only replacement. |
| Biodegrade v. /ˌbaɪoʊdɪˈɡreɪd/ | To break down gradually inside the body over time. ​ | Some scaffolds biodegrade after they guide tissue growth. |
| Biodegradation n. /ˌbaɪoʊˌdɛɡrəˈdeɪʃən/ | The gradual breakdown of a material inside the body over time. ​ | Biodegradation rate should match the pace of tissue repair. |
| Injected adj. /ɪnˈdʒektɪd/ | Delivered into the body using a needle/syringe. ​ | The nanoparticles are injected to reach the target tissue. |
| Blood–brain barrier n. /ˌblʌd ˈbreɪn ˈbæriər/ | A protective barrier that blocks many substances from entering the brain from the bloodstream. ​ | Many drugs cannot cross the blood–brain barrier. |
| Bioglass n. /ˈbaɪoʊɡlæs/ | A glass-like biomaterial that can dissolve in the body, bond to bone, and stimulate new bone growth. ​ | Bioglass can stimulate bone regeneration through released ions. |
| Dissolve v. /dɪˈzɑːlv/ | To gradually break apart and mix into a liquid in the body; the material can dissolve over time. ​ | Over time, the material may dissolve in body fluid. |
| Bond to bone v. phrase /bɑːnd tə boʊn/ | To attach strongly to bone tissue, forming a stable interface. ​ | Some coatings help an implant bond to bone more effectively. |
| Sol–gel process n. /ˌsɑːl ˈdʒɛl ˈprɑːsɛs/ | A chemistry-based method of making glass-like materials by building a network through chemical assembly. ​ | The sol–gel process can produce bioactive glass structures. |
| Brittle adj. /ˈbrɪtəl/ | Hard but easy to crack or break. ​ | Glass can be brittle under repeated stress. |
| Synergy n. /ˈsɪnərdʒi/ | A combined effect where two materials together perform better than each one alone. ​ | A polymer–glass composite may show synergy in properties. |
| Surface chemistry n. /ˈsɝːfɪs ˈkɛmɪstri/ | The chemical properties of a material’s surface that affect how cells interact with it. ​ | Surface chemistry influences cell attachment and growth. |
| Biosensing n. /ˈbaɪoʊˌsɛnsɪŋ/ | Detecting biological signals (e.g., markers of disease or pathogens) using devices/materials. ​ | Biosensing can help detect biomarkers in body fluids. |
| Biosensors n. pl. /ˈbaɪoʊˌsɛnsərz/ | Devices/materials used to detect biological signals (e.g., markers of disease or pathogens). ​ | Biosensors are used to identify disease markers quickly. |
| Surgical intervention n. /ˈsɝːdʒɪkəl ˌɪntərˈvɛnʃən/ | A surgery required when the body cannot heal/regenerate a defect on its own. ​ | Early treatment can sometimes reduce the need for surgical intervention. |